## 구입자재 품목명세서
구입자재 품목명세서
NO. | 품명 | 규격 | 수량 | 단위
1 | 볼 베어링 | 6324C3, NTN, NSK | 6 | ea
2 | 볼 베어링 | 6204ZZ, NTN, NSK | 10 | ea
3 | 볼 베어링 | 6205ZZ, NTN, NSK | 10 | ea
4 | 볼 베어링 | 6211ZC3, NTN, NSK | 11 | ea
5 | 볼 베어링 | 6309ZZC3, NTN | 9 | ea
6 | 볼 베어링 | 6311ZZ, NTN, NSK | 9 | ea
7 | 볼 베어링 | 6313ZC3, NTN, NSK | 11 | ea
8 | 볼 베어링 | 6316C3, NTN, NSK | 15 | ea
9 | 볼 베어링 | 6319C3, NTN, NSK | 6 | ea
10 | 볼 베어링 | 6320C3, NTN, NSK | 4 | ea
11 | 볼 베어링 | 6209ZZ, NTN, NSK | 4 | ea
12 | 볼 베어링 | 6307ZZC3, NTN, NSK | 4 | ea
13 | 볼 베어링 | 6210ZZ, NTN, NSK | 4 | ea
14 | 볼 베어링 | 25BC02XPP3, NTN, NSK | 4 | ea
15 | 볼 베어링 | 20BC02XPP3, NTN, NSK | 4 | ea
16 | 볼 베어링 | 7314BDB, NTN, NSK | 4 | ea
17 | 볼 베어링 | 6312ZZ, NTN, NSK | 4 | ea
18 | 볼 베어링 | 6208ZZC3, NTN, NSK | 8 | ea
19 | 볼 베어링 | 6313C3, NTN, NSK | 4 | ea
20 | 볼 베어링 | 6212ZZC3, NTN, NSK | 4 | ea
21 | 볼 베어링 | 6310ZZC3, NTN, NSK | 28 | ea
22 | 볼 베어링 | 6206ZZAC, NTN, NSK | 28 | ea
23 | 단열 깊은 홈 볼 베어링 | 6052M, NTN, NSK | 2 | ea
24 | 앵귤러 볼 베어링 | 7322BDB, NTN, NSK | 4 | ea
25 | 누설검사테스트액 | Swagelok, ms-snoop 8oz | 12 | ea
26 | 제습제 | 물먹는 하마 | 80 | ea
27 | RTD TRANSDUCER | DT-RTD-K1, AC220V(-50~150도),DAE JOO | 3 | ea
28 | AC Cooling Fan | UF-12A23BWH/ AC220V / 20W/Fulltech | 2 | ea
29 | Closing Coil | HAFS-SOL5 DC125V, HYUNDAI | 5 | ea
30 | Trip Coil | HVFS-SOL5 DC125V, HYUNDAI | 5 | ea
31 | 팬벨트(3V315-SPZ800) | 3V-315, Dongil | 40 | ea
32 | 팬벨트(3V-290) | 3V-290, Dongil | 110 | ea
33 | 팬벨트(3V-320) | 3V-320, Dongil | 60 | ea
34 | Electric Heater | Insert Flange Type, 10kW, 55℃(Design Temp), ATM(Design Press), φ146x992, 19kg, Korea Mega Watt | 1 | ea
35 | Isolating TR | 205-12, 5kVA, 3상, 50/60Hz, 44.4kg, Insulation H, Input 480V, Output 380V, WOONYOUNG | 2 | ea
36 | Isolating TR | WY52-300AW, 300VA, 단상, 50/60Hz, Insulation B, Input 500.480.440V, Output 220.110V, WOONYOUNG | 2 | ea
37 | Control TR | 2kVA, 60Hz, 1차 460V, 2차 220V, HKT ELECTRIC | 3 | ea
38 | Level S/W | FLR-202B, 220VAC, 50/60Hz, KACON | 2 | ea
39 | TR Digital Temp Controller | P-300C, DK | 3 | ea
40 | 청소기 | DWV901, 30L, 건습식용, Dewalt | 2 | ea
41 | 부직포 | 에어필터용 1200*10T | 40 | M
42 | 부직포 | 에어필터용 1200*5T | 15 | M
43 | 정비부품수납툴 | SE-SQ3S | 2 | ea
44 | 겐트리크레인 | 1Ton, 이동식, SB1024 | 2 | ea
45 | 멀티탭 | 4구, 개별차단스위치, 개별접지,5M | 20 | ea
46 | 건전지 | 1.5V, AA LR6 (2P) | 120 | ea
47 | 건전지 | 알칼리건전지 1.5V, AAA LR03 (2P) | 120 | ea
48 | 건전지 | CR1620, 3V, 손목 | 30 | ea
49 | 건전지 | LR44 | 30 | ea
50 | 릴케이블 | 30m, AC220V, 2.5SQ, 3C, 정격전류30A이상, 콘센트 2구, 누전차단기 포함 | 3 | ea
51 | 릴케이블 | 50m, AC220V, 2.5SQ, 3C, 정격전류30A이상, 콘센트 2구, 누전차단기 포함 | 3 | ea
52 | CCW H/E ZINC REF. ELECTRODE | φ22x50L, SAMGONG | 4 | ea
53 | CCW H/E MMO ANODE | φ25x100L, SAMGONG | 4 | ea
54 | Condenser ZINC REF. ELECTRODE | φ16x50L, 태흥전기방식 | 4 | ea
55 | Condenser PT-Ti ANODE | φ14x150L, 태흥전기방식 | 8 | ea
56 | 작업대 | 1500*900, 상판 다리 분리 조립형 | 3 | ea
57 | 정비용툴보관함 | 발전기정비용,RTC-A, 1100*530*1850, 200kg, 6인치 바퀴, 이동식, Gray, 상부 아이볼트체결 | 6 | ea
58 | 작업용 의자 | 접이식, 380*380*790, 좌쿠션, 블랙 | 15 | ea
59 | Cooling Fan | UF-15A11 BTH, 115VAC, 30W, 60Hz, 3200rpm, 172*150*38, Fulltech | 70 | ea
60 | Cooling Fan | UF-15A23 BTH, 230VAC, 31W, 60Hz, 3200rpm, 172*150*38, Fulltech | 40 | ea
61 | DC 코일 | ACB Closing Coil, CC DC 125V, LSIS | 5 | ea
62 | DC 코일 | ACB Trip Coil(Shunt Coil), SHT1 DC 125V, LSIS | 5 | ea
63 | 계기용변압기 | AC480/AC220V, 300VA, WY52-300AW,(IN: 500,480,440V, OUT:220,110V), B종, WOONYOUNG | 4 | ea
64 | 그리스 | GADUS S2 V100 2(ALVANIA RL2), 15㎏/CAN, Shell | 4 | can
65 | 그리스 | GADUS S2 V100 3(ALVANIA RL3), 15㎏/CAN, Shell | 3 | can
66 | 그리스 | GADUS S2 V220 2(ALVANIA EP2), 20ℓ/CAN, Shell | 4 | can
67 | 그리스 | GADUS S3 V220 2, 20ℓ/CAN, Shell | 3 | can
68 | 누전차단기 | UMG50S, 2P 50AF/20AT, AC220V, 5kA, HYUNDAI | 4 | ea
69 | 누전차단기 | UMG50S, 2P 50AF/40AT, AC220V, 5kA, HYUNDAI | 1 | ea
70 | 배선용차단기 | HGP100H(AL+SHT), 3P, AF/AT: 100/2.5(15~32.5), HYUNDAI | 4 | ea
71 | 배선용차단기 | HGP100H(AL+SHT), 3P, AF/AT: 100/32(192~416A), HYUNDAI | 4 | ea
72 | 배선용차단기 | HGP100H(AL+SHT), 3P, AF/AT: 100/50(300~650A), HYUNDAI | 4 | ea
73 | 배선용차단기 | HGP125DH(AL), 3P, 3P, AF/AT: 125/16, HYUNDAI | 4 | ea
74 | 배선용차단기 | HGP125DH(AL), 3P AF/AT: 125/16, HYUNDAI | 4 | ea
75 | 배선용차단기 | HGP125DH(AL), 3P AF/AT: 125/50, HYUNDAI | 4 | ea
76 | 배선용차단기 | HGP250H(AL+SHT), 3P, 250/150(750~1500A), HYUNDAI | 2 | ea
77 | 배선용차단기 | HGP250H(AL+SHT), 3P, AF/AT: 250/150(750~1500A), HYUNDAI | 2 | ea
78 | 보조계전기 | MR-4 AC220V 2a2b, LSIS | 5 | ea
79 | 보조계전기 | MR-4 AC220V 4a, LSIS | 5 | ea
80 | 보조계전기 | MR-4 DC125V 2a2b, LSIS | 5 | ea
81 | 보조계전기 | MR-4 DC125V 4a, LSIS | 5 | ea
82 | 보조계전기 | 보조계전기, UMT21, DC 125V, 3a1b, 60Hz, 현대 (단종 -> 신형 HGR) | 4 | ea
83 | 보조계전기 | 보조계전기, UMT22, DC 125V, 2a2b, 60Hz, 현대 (단종 -> 신형 HGR) | 4 | ea
84 | 보조계전기 | HGR22 (2a2b, AC120V), 현대 | 50 | ea
85 | 보조계전기 | YSMY05-2P (2c, AC120V), 용성 | 40 | ea
86 | 보조계전기 | RELAY, HR705-4PL 110V, 60Hz, KACON | 40 | ea
87 | 보조계전기 | SRL-K100, 9a0b, 220VAC, Mitsubishi | 6 | ea
88 | 보조계전기 | MY4N 4A4B 125VDC, omron | 6 | ea
89 | 보조계전기 | MY4N 4A4B 24VDC, omron | 6 | ea
90 | 보조계전기 | SRLD-K100 , 5A4B , 125VDC, Mitsubishi | 6 | ea
91 | 보조계전기 | LY4N-D4 4A4B 125VDC, omron | 6 | ea
92 | 보조접점 | 보조접점, UAB11, 1a1b, 현대 | 2 | ea
93 | 보조접점 | 보조접점, UAB22, 2a2b, 현대 | 2 | ea
94 | 실리카겔 제습제 | 실리카겔 제습제, SILICA GEL,6~10 MESH, BLUE | 10 | kg
95 | 온도라벨 | 비가역성 LI-40-250 70℃, 40매/box, NiGK | 40 | box
96 | 온도라벨 | 비가역성 LI-40-250 90℃, 40매/box, NiGK | 40 | box
97 | 우레탄 폼 | URETHANE FOAM,우레탄 폼 건 탈착식,500㎖ | 10 | ea
98 | 우레탄 폼 건 크리너 | URETHANE FOAM GUN CLEANER,우레탄 폼 건 탈착식,500㎖ | 2 | ea
99 | 윤활유 | Turbo T 46 20ℓ/CAN, Shell | 10 | can
100 | 전기플러그 | 전기플러그,ELECTRIC PLUG,220VAC,15A,2P | 50 | ea
101 | 절연장갑 | 절연 장갑,INSULATION GLOVE,면엠보싱,정전기방지 (슈퍼그립 200), 3M | 100 | 조
102 | 정전기방지매트 | 정전기방지매트,ANTISTATIC MAT,W900*L20M*T2㎜,GREEN,STATIC CONTROL TABLE/FLOOR MAT | 3 | roll
103 | 퓨즈 | KFS-01A, KACON | 5 | ea
104 | 퓨즈 | KFS-30A, KACON | 5 | ea
105 | 퓨즈 | DIAZED FUSE 16A, 10ea/box | 2 | box
106 | 퓨즈 | DIAZED FUSE 4A, 10ea/box | 2 | box
107 | Solenoid Valve | JKB8320G174MO(AC120V, 3WAY Type), ASCO | 2 | ea
108 | Solenoid Valve | JKH8320G184MO(DC24V, 3-WAY Type, 1/4 Pipe), ASCO | 15 | ea
109 | Solenoid Valve | YT-720SP12(AC110, Air 0.7MPa), YTC | 5 | ea
110 | Solenoid Valve | JKH8327G41V(3-WAY, DC24V, Air, 1/4 Pipe),ASCO | 4 | ea
111 | Solenoid Valve | JKH8210G2V(2-WAY, DC24V, Oil, 1/2 Pipe),ASCO | 3 | ea
112 | Solenoid Valve | JKH8551G402MO, 8551B402MO, ASCO | 5 | ea
합계 |  |  | 1634